# TOLL Arndell Park Pollutant Monitoring

Toll Arndell Park as part of our licencing conduct samples for pollutant monitoring. There is 1 testing point on the premises, and this testing location point is the retention basin located near Doonside Road access gate F.

| Toll Arndell Park Licence Details |  |
| --- | --- |
| Environmental Protection Licence Number | 6152 |
| Licensee name | TOLL NORTH PTY LTD |
| Licensee address | 616 Great Western Highway Arndell Park, NSW 2148 |
| Link to EPA’s Public Register | Environment & Heritage ¦ PRPOEO |
| Monitoring/discharge point type | Wet weather discharge from retention basin |
| Location of monitoring point | Point 1 33°47'28"S 150°52'21"E |
| Pollutant types monitored | Oil and Grease, pH, Suspended solids |
| Unit of measure | Milligrams per litre for oil and grease, suspended solids (pH level is a score not a unit of measure) |
| Monitoring frequency required by licence | Quarterly during discharge |
| Notes on missing data is applicable | N/A |
| Pollutant sample collection agent | ALS |
| Sample testing agent | Wael Saleh & Ankit Joshi |

## Summary of Sample Collection and Testing

Toll Arndell Park conduct samples of the retention basin quarterly from testing point 1 to sample for the listed pollutants. The method used to sample is a grab method into a bottle sample run. Multiple grabs are obtained per sample and a initial sample is taken then a final sample is taken. Oil and Grease and suspended solids are measured in mg/L milligrams per litre, while the pH is a score on the pH scale.

NSW EPA recommended pH scale for water – 6.5 - 8.5

| Toll Arndell Park Monitoring Details |  |  |  |  |
| --- | --- | --- | --- | --- |
| Environmental Protection Licence Number |  | 6152 |  |  |
| Monitoring sample date |  | 11/3/2026 – 12/3/2026 |  |  |
| Facility monitoring samples taken |  | 616 Great Western Highway Arndell Park |  |  |
| Sampling location |  | Point 1 33°47'28"S 150°52'21"E |  |  |
| Sample duration |  | 2 days |  |  |
| Time of sample collection |  | 10.00am |  |  |
| Toll Arndell Park Monitoring Results |  |  |  |  |
| Sample Description | Sample purpose | Unit measure | Result | Range |
| Total Dissolved Solids @ 1800C | Measuring dissolved solids | mg/L | 816 | 10,000 upper limit |
| Suspended Solids | Measuring Suspended Solids | mg/L | 323 | 600.00 upper limit |
| pH Start | pH at beginning of testing | Score EPA recommends 6.5 - 10.0 | 7.2 | 7.00 – 10.00 pH range for water limits |
| pH Finish | pH at conclusion on testing | Score EPA recommends 6.5 - 10.0 | 7.2 | 7.00 – 10.00 pH range for water limits |
| Oil & Grease | Amount of oil and grease in sample | mg/L | <5 | 110.00 upper limit |
| Temperature Start | Water temperature at time of sampling | 0C | 22 | No range required |
| Temperature Finish | Water temperature at time of sampling | 0C | 22 | No range required |

## Summary of Results

For the testing of pollutant samples for the quarterly period of sampling January 2026 – March 2026 there were no non-conforming results for this period of sampling.

It can be determined from the ranges the following:

| Toll Arndell Park Monitoring Summary |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample Description | Unit measure | Result | Range | Summary/ non-conforming results |
| Total Dissolved Solids @ 1800C | mg/L | 816 | 10,000 upper limit | Within Limits No Non-conforming results |
| Suspended Solids | mg/L | 323 | 600.00 upper limit | Within Limits No Non-conforming results |
| pH Start | Score EPA recommends 6.5 - 10.0 | 7.2 | 7.00 – 10.00 pH range for water limits | Within Limits No Non-conforming results |
| pH Finish | Score EPA recommends 6.5 - 10.0 | 72 | 7.00 – 10.00 pH range for water limits | Within Limits No Non-conforming results |
| Oil & Grease | mg/L | <5 | 110.00 upper limit | Within Limits No Non-conforming results |
| Temperature Start | 0C | 22 | No range required | Within Limits No Non-conforming results |
| Temperature Finish | 0C | 22 | No range required | Within Limits No Non-conforming results |

| Correction Log for pollutant Monitoring |  |
| --- | --- |
| Date of Correction | Comments of corrections to current or previous samples published |